|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  |  |  |
| **Date:** |  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
| **Employee Name:** |  | **Badge ID:** |  | **Dept.** |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
| **Evaluation Type:**  |  |  | Initial |  | 6-Month |  | Annual |  |  |
|  |  |  |  |  |  |  |  |  |  |
| **Device :** |  |  | Abbott PxP |  | Nova Stat Strip |  | i-STAT |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |
| **Test:** |  |  | Glucose |  | Creatinine |  | Troponin |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | PT/INR |  | Lactate |  | BhCG |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
| **Discuss/Reiterate:** |  |  | Pre-Admit Glucometer Log |  | Comment Codes |  | POC Instrument Issue Card |
|  |  |  |  |  |  |  |  |

|  |
| --- |
| RUN Quality Control or Proficiency Testing**i-STAT QC**: Menu🡪3-Quality Tests🡪1-Control🡪Scan Operator ID below🡪1-APOC🡪Select Level🡪Scan Control🡪Scan Cartridge**i-STAT Proficiency Testing**: Menu🡪3-Quality Tests🡪2-Proficiency🡪Scan Operator ID below🡪Scan Proficiency ID Below |
|  |  |
| **Operator I.D.** | **Proficiency Testing (For Blind Samples)** |
| C:\Users\clw6176\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.IE5\KTU5RBZT\code735ccbde1662d2b6fd915f1c23a382de.png | **C:\Users\clw6176\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.IE5\QCW445QW\code35d9b2f15467d8a33965a1c9447dd426.png** |

|  |
| --- |
| **CIRCLE ONE** |
|  |  |  |  |  |
| **LOW/LEVEL 1:**  | PASS / FAIL | OR | **BLIND SAMPLE:** | PASS / FAIL |
|  |  |
| **HIGH/LEVEL 3:**  | PASS / FAIL |
|  |  |  |  |
| Educator: |  |  |  |
|  |
|  |  | Healthstream exam completed, Date |  |  |  |  |
|  |  |  |  |  |  |  |  |  |
|  |  | HealthStream Direct Observation Completed |
|  |  |  |  |  |  |  |  |  |  |
|  |  | RALS Entry Completed |  |  |  |  |  |
|  |  |  |  |  |  |
| Comments/Notes: |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |