# DECANTING

CHEMISTRY RANDOM URINES (VMACR, VCRE, UPHOS etc.) and ARUP SENDOUTS

- Go to General Lab to receive your specimen

- Go to SMART and Select Processing - Decant

- Scan or type the CID and select WDDEC in the drop down for the spot. Select Get CID

Special instructions such as ARUP testing guidelines will appear here

- Select Processed and your aliquot label will print.

(Select Cancel at the next pop up to ignore the rack processing prompt.)

**This label goes on the aliquot tube**

24HR URINE PROCESSING

- Go to General Lab to receive your specimen

2. In the Order Codes box add UDATA to all 24hr. specimens. Select Save

3. Another box will pop up

- In the text field Enter; ”date and time started” TO “date and time ended”.

Ex: ;11/1/2024 @0800 TO 11/2/2024 @0800

- Select SAVE

- Go to SMART and Select PROCESSING - DECANT

- Scan or type the CID and select WDDEC in the drop down for the spot. Select Get CID

Enter Total Volume in result field (this is a numerical value ONLY Ex: 1800)

Select Save

Select Processed Labels will print that will be used for the aliquot tube

***IF YOU ARE ORDERING THE 24HOUR URINE TESTS YOU CAN ALSO ENTER THE UDATA IN ORDER ENTRY***